## Slide 1
Before replacing the PC board, please adjust the code of the Dip Switch panel according to the model.
Note: The last pin should be Switch on "1" for heating and cooling units
Note: The first pin should be Switch on "1" for dual fan units
DIN1 - Closed
AIN 8 - Open
InverECO 320
1-ON
0-OFF
1
2
3
4
DIN1 - Closed
AIN 8 - Open
InverECO 400
1-ON
0-OFF
1
2
3
4
DIN1 - Closed
AIN 8 - Open
InverECO 500
1-ON
0-OFF
1
2
3
4
DIN1 - Closed
AIN 8 - Open
InverECO 660
1-ON
0-OFF
1
2
3
4

## Slide 2
Before replacing the PC board, please adjust the
code of the Dip Switch panel according to the model.
Note: The last pin should be Switch on "1" for heating and cooling units
Note: The first pin should be Switch on "1" for dual fan units
DIN1 - Closed
AIN 8 - Open
InverELITE 900
1-ON
0-OFF
1
2
3
4
DIN1 - Closed
AIN 8 - Open
InverELITE 1100
1-ON
0-OFF
1
2
3
4

## Slide 3
Before replacing the PC board, please adjust the
code of the Dip Switch panel according to the model.
Note: The last pin should be Switch on "1" for heating and cooling units
Note: The first pin should be Switch on "1" for dual fan units
DIN1 - Closed
AIN 8 - Open
InverTITAN 090
1-ON
0-OFF
1
2
3
4
DIN1 - Closed
AIN 8 - Open
InverTITAN 112
1-ON
0-OFF
1
2
3
4
DIN1 - Closed
AIN 8 - Open
InverTITAN 140
1-ON
0-OFF
1
2
3
4